	[image: image1.jpg]



	Kyrgyz Center for Accreditation
	Structure and analysis of traceability of measurements in the Kyrgyz Republic

Support for accredited laboratories


	KCA-PO.Г
КЦА-ПО.Г



Abbreviation list

BCISM under CSM under ME KR – Bishkek center of  Testing, Certification and Metrology under Center for Standardization and Metrology of the Kyrgyz Republic

CSM under ME KR –Center for Standardization and Metrology of the Kyrgyz Republic

VNIIM -The D.I. Mendeleev All-Russian Institute for Metrology 

Joint-stock company «NaCEkS» - National Center of expertise and certification of  Kazakhstan
RSE “KazInMetr” – National Metrological Institute of  Kazakhstan
Traceability of temperature measurements
[image: image1.jpg]






Traceability of mass measurements






Traceability of pressure measurements






                                                 



  Traceability of length measurements 











Through dashed measures of length






Through gauge measures of length

Traceability of time interval measurements






Traceability of pH measurements






Traceability of force measurements






Traceability of viscosity  measurements







Traceability of density measurements









Traceability of physical and chemical measurements








Traceability of electric measurements








Traceability of optical measurements










Traceability of angle measurements





Traceability of industrial radio level of frequency interference measurements




Traceability of  noise, vibration, electrostatic field measurements
Traceability of  ionizing radiation measurements



CSM under ME KR 


accredited by DAkkS, ILAC MRA





TUBITAK UME,


Turkey 


CIPM MRA











BCISM CSM under ME KR 


accredited  by KCA, ILAC MRA








CSM under ME KR 


accredited by DAkkS, ILAC MRA





Resistance thermometers, liquid-in-glass thermometers,


 direct reading thermometers, thermocouples, 


relative humidity direct reading hygrometers





Liquid-in-glass thermometers,


 direct reading thermometers





TUBITAK UME,


Turkey, NPL, Great Britain,


CIPM MRA











CSM under ME KR 


accredited by DAkkS, ILAC MRA





Weights, non-automatic weighing instruments, glass ware, piston pippets 





TUBITAK UME,


Turkey, NPL, Great Britain,


CIPM MRA











CSM under ME KR 


accredited by DAkkS, ILAC MRA





Pressure gauges, pressure transducers,  pressure balances























PTB, Germany


CIPM MRA








TUBITAK UME,


Turkey 


CIPM MRA





CSM under ME KR 


accredited by КCA, ILAC MRA








CSM under ME KR 


accredited by КCA, ILAC MRA





Analog and digital calipers, micrometers





Steel ruler, measuring tape








TUBITAK UME,


Turkey 


CIPM MRA





CSM under ME KR 


accredited by КCA, ILAC MRA





Digital, mechanical stopwatches





PTB, Germany


CIPM MRA











BCISM CSM under ME KR 


accredited  by KCA, ILAC MRA








pH-meters 





 VNIIM, Russia


CIPM MRA











BCISM CSM under ME KR 


In accreditation process by KCA, ILAC MRA





working dynamometers,  tensile-testing machines, presses, testing machines





PTB, Germany


CIPM MRA








VNIIM, Russia


CIPM MRA











BCISM CSM under ME KR 


In accreditation process by KCA, ILAC MRA








 BCISM CSM under ME KR 


In accreditation process KCA, ILAC MRA





areometers, densitometers 





Glass capillary viscometers














Certified reference


 materials, produced in according to


ISO/IEC 17034














BCISM CSM under ME KR 


In accreditation process by KCA, ILAC MRA spectrometers, chromatografs, 








atomic absorption spectrometers, atomic emission spectrometers, conductivity meters and others 











TUBITAK UME,


Turkey 


CIPM MRA








RSE “KazInMetr”


Kazakhstan accredited by NCA, ILAC MRA








BCISM CSM under ME KR


recognized by KCA, ILAC MRA





 resistance, capacity, induction





ommeters, voltmeters, wattmeters











VNIIM, VNIOFI, Russia


CIPM MRA





BCISM CSM under ME KR 


In accreditation process by  KCA, ILAC MRA 








BCISM CSM under ME KR 


Recognized by KCA, ILAC MRA 








refractometers





Photometers, photoelectrocolorimeters, 


spectrophotometers





JSC «NaCEkS», Kazakhstan


accredited by NCA, ILAC MRA








BCISM CSM under ME KR





Angle measures


 





 angle measures and meters














JSC «NaCEkS», Kazakhstan


accredited by NCA, ILAC MRA








working measurement antennas





JSC «NaCEkS», Kazakhstan


accredited by NCA, ILAC MRA








Sound level meters (spectrographs), vibrometers for total and local vibration, devices to measure electrostatic field intensity





dosimeters, radiometers














	publication #

	5
	Date of introduction

	25.02.2021
	page 9 of 15



